## Front Sheet
(EPC LOGO)
IOGP LOGO
ELECTRICAL
Supplier Deliverable Requirements List (SDRL)
for
IEC 61439 - LV Switchgear and Controlgear Assemblies
Procurement Package: XXaa
Equipment Nos: TBA
2 | Issued for information
Rev | Reason for Issue | Author | Date |  | Checked | Date | Approved | Date
Rev
|  | S-560L | [6 empty] | 2

## Rev Sht
REVISION HISTORY
Rev. No. | Detailed Description of Change |  |  |  | Section
[6 empty] | M. Khalid | 2014-03-20 | 2014-03-20
M. Khalid
PROJECT |  | Add Project name here | EQUIP No, | SEE FRONT SHEET
EQUIPMENT DESCRIPTION |  | IEC 61439 - LV Switchgear and Controlgear Assemblies | REVISION NO: | 2
PROCUREMENT PACKAGE |  | Add Proc. Package no. here | PAGE NO | 2 OF 5
SUPPLIER DELIVERABLE REQUIREMENTS LIST |  |  | DOC NO | S-560L

## Guidance
REV
| 1 | Scope
This Supplier Deliverable Requirements List (SDRL) is for Low Voltage Switchgear and Controlgear Assemblies and covers all
expected documentation to be provided under this procurement package.
| 2 | Normative reference
Refer to S-560, Supplementary Requirements to IEC 61439-1 & 2 LV Switchgear & Controlgear
| 3 | Terms and definitions
For the purpose of this document, the following terms and definitions apply:
User
Party who will specify, purchase, use and/or operate the ASSEMBLY, or someone acting on their behalf.
Manufacturer
Entity entering into a contract with User to provide materials, goods, supplies, equipment, or plant and includes
the successors and (or) permitted assigns of such entity.
| 4 | Symbols and abbreviations
|  | SDRL |  | Supplier Deliverable Requirements List
|  | USER REF |  | Supplier Deliverable Requirements Master List
| 5 | Instructions for use of SDRL
| 5.1 | At proposal stage
| a. | The deliverables to be provided with the proposal are identified by the annotation "X" in the "with proposal" column on
page 4 ("List" tab). Typical documents are acceptable at the proposal stage.
| b. | Further instructions for the proposal stage which shall be followed are included in the Requisition Documents.
| 5.2 | At Purchase Order stage
| a. | The deliverables required, format, scope, review requirements and submission dates shall be agreed when establishing any
global agreements or on a project basis. The review requirements and submission date(s) will be defined and updated to suit
the agreed requirements.
| b. | Deliverables for which a format or scope other than that preferred, shall be listed on page 5 ("Exceptions" tab) together with the
proposed format or scope.
| 5.3 | General
| a. | The information required by several SDRL Codes may be combined onto a single deliverable. This shall be clearly
identified on the SDRL page 4 ("List" tab) and detailed as an exception on page 5 ("Exceptions" tab).
This shall also be recorded on the Supplier Deliverable Requirements (SDR).
| b. | The "Rev" column on each sheet will be used to identify lines changed since previous revision of the SDRL.
| c. | All documents are to be provided electronically in native format. PDF documents will be as per User requirements.
2014-03-20
PROJECT |  |  | Add Project name here |  | EQUIPT. NO: | SEE FRONT SHEET
EQUIPMENT DESCRIPTION |  |  | IEC 61439 - LV Switchgear and Controlgear Assemblies |  | REVISION NO: | 0 | 2
PROCUREMENT PACKAGE |  |  | Add Proc. Package no. here |  | PAGE NO | 3 OF 5
SUPPLIER DELIVERABLE REQUIREMENTS LIST |  |  |  |  | DOC NO | S-560L

## List
REV | USER REF | DOC. TYPE | DELIVERABLE DESCRIPTION |  | REQ'd (Y/N) | To be agreed prior to PO placement
[6 empty] | WITH PROPOSAL | WITH PURCHASE | SUBMISSION DATE
|  | 1 | CONTROL DOCUMENTS
|  | 1.1 | SUPPLIER DELIVERABLES REGISTER (SDR)
|  | 1.2 | FABRICATION PRODUCTION SCHEDULE
|  | 1.3 | PROGRESS REPORT
|  | 1.4 | BOUGHT OUT ITEMS LIST
|  | 2 | INTERFACE AND ARRANGEMENT DRAWINGS
|  | 2.1 | PSC ASSEMBLY GENERAL ARRANGEMENT DRAWING
|  | 2.2 | INTERFACE AND CONNECTION SCHEDULE (S-560, Clauses 3.10.4, 8.6.2.2)
|  | 3 | DESIGN AND OPERATIONAL DATA
|  | 3.1 | SINGLE LINE ELECTRICAL DIAGRAM
|  | 3.2 | FUNCTIONAL UNIT SCHEMATIC DIAGRAM
|  | 3.3 | UTILITIES SCHEDULE (Absorbed AC / DC power)
|  | 3.4 | WEIGHT DATA SHEET (S-560, Clause 7.3)
|  | 3.5 | EQUIPMENT DATA SHEET (S-560, Clause 5)
|  | 3.6 | DETAILED DESCRIPTION OF OPERATION
|  | 3.7 | HEAT DISSIPATION DATA (IEC 61439-1, Clause 10.10.4)
|  | 3.8 | FUNCTIONAL LOGIC DIAGRAM (S-560, Clauses 3.10.11, 8.6.2.3)
|  | 3.9 | IED INTERROGATION AND PROGRAMMING SOFTWARE (S-560, Clause 8.6.2.3)
|  | 4 | GENERAL DETAILS AND SUB-ASSEMBLY DIAGRAM
|  | 4.1 | NAME PLATE FORMAT DRAWING (S-560, Clause 6.1)
|  | 4.2 | PSC ASSEMBLY FUNCTIONAL UNIT SUB-ASSEMBLY ARRANGEMENT (S-560, Clauses 8.5.2.101 / 8.5.3.101)
|  | 5 | ELECTRICAL INTERCONNECTION AND DETAILS
|  | 5.1 | PSC-ASSEMBLY INTERNAL INTERCONNECTION DIAGRAM
|  | 5.2 | PSC-ASSEMBLY EXTERNAL TERMINATION DIAGRAM
|  | 6 | CALCULATIONS AND PERFORMANCE DATA
|  | 6.1 | ELECTRICAL PROTECTION STUDY (S-560, Clause 8.6.2.3 / IEC61349-1 Clause 9.3.4)
|  | 6.2 | CURRENT AND POTENTIAL (CT/VT) TRANSFORMER CURVES (S-560 Clauses 8.5.3.109, 8.5.3.110)
|  | 6.3 | PERFORMANCE DATA (S-560, Clause 9)
|  | 7 | HANDLING, INSTALLATION AND PRE-COMMISSIONING (S-560, Clause 6.2)
|  | 7.1 | PACKING / UNPACKING AND PRESERVATION PROCEDURE
|  | 7.2 | LOGISTICS, HANDLING AND SHIPPING PROCEDURE & ASSOCIATED DRAWINGS
|  | 8 | MANUFACTURING AND QUALITY PROCEDURES
|  | 8.1 | QUALITY MANAGEMENT SYSTEM AND CERTIFICATION
|  | 8.2 | QUALITY PLAN
|  | 8.3 | INSPECTION AND TEST PLAN (ITP)
|  | 8.4 | ROUTINE VERIFICATION AND PERFORMANCE TEST PROCEDURE (S-560, Clauses 10, 11) | [5 empty] | 41718 | M. Khalid | 41718 | 41718
|  | 8.5 | ECMS SIMULATION TEST PROCEDURE (S-560, Clause 11.101)
|  | 8.6 | SITE ACCEPTANCE TEST PROCEDURE
|  | 9 | SPARES AND SPECIAL TOOLS
|  | 9.1 | SPECIAL TOOLS LIST
|  | 9.2 | SPARE PARTS RECOMMENDATIONS
|  | 10 | PERFORMANCE AND DESIGN CERTIFICATION S-560, Clause 10)
|  | 10.1 | TYPE TEST / APPROVAL CERTIFICATES
|  | 11 | TEST AND INSPECTION REPORTS (S-560, Clause 11)
|  | 11.1 | ROUTINE VERIFICATION TEST REPORT
|  | 11.2 | ECMS SIMULATION TEST REPORT
|  | 11.3 | ROUTINE VERIFICATION (SITE ACCEPTANCE) TEST REPORT
|  | 12 | RENEWABLE TEST AND CALIBRATION DATA
|  | 12.1 | INSTRUMENT TEST AND CALIBRATION CERTIFICATE
|  | 12.2 | LIFTING EQUIPMENT TEST CERTIFICATE
|  | 12.3 | CERTIFICATE OF CONFORMITY (S-560, Clause 1)
|  | 13 | CONCESSIONS
|  | 13.1 | CONCESSION REQUESTS
|  | 14 | MANUALS
|  | 14.1 | DESPATCH DOSSIER
|  | 14.2 | MANUFACTURING RECORD BOOK
|  | 14.3 | INSTRUCTION FOR HANDLING, INSTALLATION, OPERATION AND MAINTENANCE (IEC61349-1, Clause 6.2.2)
|  | 15 | HSE (ONLY WITH PROPOSAL)
|  | 15.1 | HSE MANAGEMENT SYSTEM (PLANS, POLICY, COMPLIANCE)
|  | 16 | DATA DELIVERABLES
|  | 16.1 | MANUFACTURER TAG REGISTER (if applicable)
PROJECT |  |  |  | Add Project name here | EQUIPT. NO: |  | SEE FRONT SHEET
EQUIPMENT DESCRIPTION |  |  |  | IEC 61439 - LV Switchgear and Controlgear Assemblies | REVISION NO: |  | 2
PROCUREMENT PACKAGE |  |  |  | Add Proc. Package no. here | PAGE NO: |  | 4 of 5
SUPPLIER DELIVERABLE REQUIREMENTS LIST |  |  |  |  | DOC NO: |  | S-560L
Note on E8: S-560 (2.0): Covers Bill of Materials and can be provided as part of the Schematic Wiring Diagrams (3.2)
Note on D11: S-560 (2.0): Covers items such as network architecture, field interconnection diagrams etc
Note on D18: S-560 (2.0): Details functional interlocking arrangement for PSC-Assembly where required.
Note on D24: S-560 (2.0): To provide individual compartment arrangements if required by the User
Note on D34: S-560 (2.0): Electrical characterisitics of protection devices and switching devices included within the PSC-Assembly for the User power systems studies eg short circuit, arc flash and protection relay coordination etc.
Note on D36: S-560 (2.0): Intial submission to be provided for project execution planning and then to be included in the final manuals
Note on D37: S-560 (2.0): Intial submission to be provided for project execution planning and then to be included in the final manuals.
Note on D52: S-560 (2.0): FAT reports from factory acceptance tests.
Note on D56: S-560 (2.0): Manufacturers record of equipment used during routine verification.
Note on D57: S-560 (2.0): Withdrawable functional unit handling equipment.
Note on D60: S-560 (2.0): Deviations and concession requests which are identified from the requisition package, post placement of the purchase order and require approval by the User. Based on the User's system for Concession Requests.
Note on D62: S-560 (2.0): All necessary documents are provided for shipments and customs. Shall also include items such as the FAT report, punchlist items, items to be shipped loose, transport requirements and presevations requirements etc. User will agree contents list and sign off prior to release.
Note on D63: S-560 (2.0): Record book is a historical record of all sub-components within the PSC-Assembly, associated documentation and routine verification, held by Manufacturer for review by the User during manufacture of the PSC-Assembly. This may contain additional documentation compared to this SDRL and not released to the User. Retention of this will be required as per detailed in the requisition documentation.
Note on D64: S-560 (2.0): Initial submission to be index for manuals followed by complete submission following FAT.
Note on D67: S-560 (2.0): HSE plans covers the manufacturing and potentially the installation phase. It covers both User and Manufacturer's representatives in relation to the PSC-Assembly.
Note on D69: S-560 (2.0): Schedule of data for all identified items within the PSC-Assembly. The formal structure of this will be agreed between User and Manufacturer. Requirements should be detailed in the requisition package.

## Exceptions
PROPOSAL FOR EXCEPTIONS TO THE PREFERRED FORMAT OR SCOPE OF DELIVERABLE
REV | USER REF | DOC. TYPE | DELIVERABLE DESCRIPTION |  | PROPOSED DELIVERABLE
[8 empty] | 41718 | M. Khalid | 41718 | 41718
M. Khalid
PROJECT |  |  |  | Add Project name here |  | EQUIPT. NO: | SEE FRONT SHEET
EQUIPMENT DESCRIPTION |  |  |  | IEC 61439 - LV Switchgear and Controlgear Assemblies |  | REVISION NO: | 2
PROCUREMENT PACKAGE |  |  |  | Add Proc. Package no. here |  | PAGE NO: | 5 of 5
SUPPLIER DELIVERABLE REQUIREMENTS LIST | [5 empty] | DOC NO: | S-560L